## WAI
| COMID | Q0001E_1 | Q0001E_2 | Q0001E_3 | Q0001E_4 | Q0001E_5 | Q0001E_6 | Q0001E_7 | Q0001E_8 | Q0001E_9 | Q0001E_10 | Q0001E_11 | Q0001E_12 | Min_Q1 | MAF_Calc1 | Time_yr_f1 | Dam_stor1 | Supl_stor1_20% | Withdr_res_cf1 | Outfl_cum_def | Outfl_cum_surp | Wsupp_Stor_Surp | Wsupp_Stor_Delta | Wsupp_Stor_Surp_Ratio | UWi (cf) | RWi (cf) | UWi_RWi(MGD) | RegWA_UnregWA_ratio | source_type | WF
0 | 10834838 | 4.258 | 6.871 | 6.24 | 6.057 | 11.959 | 17.07 | 4.077 | 3.826 | 3.627 | 8.741 | 3.648 | 6.758 | 3.627 | 6.9277 | 31536000 | 0 | 0 | 0.34638 | 0 | 11133037.44 | 0 | 0 | 0 | 11438107.2 | 11438107.2 | 0.23442 | 0.95501 | Natural waterbody | 0.1
1 | 10835744 | 0.67 | 0.825 | 0.777 | 0.928 | 2.082 | 2.432 | 0.443 | 0.511 | 0.297 | 0.916 | 0.354 | 0.906 | 0.297 | 0.92842 | 31536000 | 0 | 0 | 0.046421 | 79983.72 | 1571986.44 | 0 | -79983.72 | -1 | 936619.2 | 936619.2 | 0.019196 | 1.563 | Natural waterbody | 0.1
2 | 10840278 | 1.712 | 2.058 | 1.905 | 2.404 | 5.749 | 7.061 | 1.198 | 1.408 | 1.228 | 3.203 | 1.157 | 3.153 | 1.157 | 2.6863 | 31536000 | 0 | 0 | 0.13432 | 119590.56 | 4436635.68 | 0 | -119590.56 | -1 | 3648715.2 | 3648715.2 | 0.074779 | 1.1609 | Natural waterbody | 0.1
3 | 7851109 | 0.129 | 0.236 | 0.207 | 0.227 | 0.529 | 0.494 | 0.077 | 0.086 | 0.057 | 0.186 | 0.044 | 0.263 | 0.044 | 0.21125 | 31536000 | 0 | 0 | 0.010563 | 42452.64 | 381939.84 | 0 | -42452.64 | -1 | 138758.4 | 138758.4 | 0.0028438 | 2.4006 | Natural waterbody | 0.1
4 | 7851139 | 0.122 | 0.223 | 0.152 | 0.214 | 0.501 | 0.468 | 0.073 | 0.081 | 0.053 | 0.174 | 0.041 | 0.249 | 0.041 | 0.19592 | 31536000 | 0 | 0 | 0.0097958 | 38524.32 | 353370.24 | 0 | -38524.32 | -1 | 129297.6 | 129297.6 | 0.0026499 | 2.3892 | Natural waterbody | 0.1
5 | 10839758 | 0.71 | 1.24 | 1.159 | 1.276 | 2.552 | 3.011 | 0.69 | 0.545 | 0.431 | 1.224 | 0.526 | 1.354 | 0.431 | 1.2265 | 31536000 | 0 | 0 | 0.061325 | 90462.96 | 2061497.52 | 0 | -90462.96 | -1 | 1359201.6 | 1359201.6 | 0.027856 | 1.4229 | Natural waterbody | 0.1
6 | 10839800 | 0.477 | 0.593 | 0.792 | 0.658 | 1.767 | 2.048 | 0.387 | 0.355 | 0.269 | 0.784 | 0.231 | 0.924 | 0.231 | 0.77375 | 31536000 | 0 | 0 | 0.038688 | 81858.6 | 1325305.8 | 0 | -81858.6 | -1 | 728481.6 | 728481.6 | 0.01493 | 1.6748 | Natural waterbody | 0.1
7 | 10834786 | 6.899 | 11.332 | 10.175 | 9.943 | 20.842 | 27.254 | 7.673 | 6.934 | 6.438 | 14.879 | 7.311 | 12.033 | 6.438 | 11.8094 | 31536000 | 0 | 0 | 0.59047 | 0 | 18978204.96 | 0 | 0 | 0 | 20302876.8 | 20302876.8 | 0.4161 | 0.91717 | Natural waterbody | 0.1
8 | 10834816 | 2.248 | 3.192 | 3.064 | 3.169 | 6.371 | 9.193 | 2.339 | 1.889 | 1.698 | 4.324 | 1.631 | 3.803 | 1.631 | 3.5767 | 31536000 | 0 | 0 | 0.17884 | 66357.36 | 5814337.68 | 0 | -66357.36 | -1 | 5143521.6 | 5143521.6 | 0.10541 | 1.0965 | Natural waterbody | 0.1
9 | 10835580 | 0.65 | 0.801 | 0.754 | 1.082 | 2.024 | 2.762 | 0.505 | 0.495 | 0.388 | 1.102 | 0.341 | 0.879 | 0.341 | 0.98192 | 31536000 | 0 | 0 | 0.049096 | 67741.2 | 1645720.56 | 0 | -67741.2 | -1 | 1075377.6 | 1075377.6 | 0.022039 | 1.4398 | Natural waterbody | 0.1
10 | 10835614 | 0.618 | 0.763 | 0.719 | 0.856 | 1.933 | 2.474 | 0.407 | 0.469 | 0.315 | 1.043 | 0.32 | 0.838 | 0.315 | 0.89625 | 31536000 | 0 | 0 | 0.044812 | 80988.12 | 1521297.72 | 0 | -80988.12 | -1 | 993384 | 993384 | 0.020359 | 1.4226 | Natural waterbody | 0.1
11 | 10834758 | 1.025 | 1.772 | 1.645 | 1.429 | 3.581 | 4.295 | 1.018 | 1.066 | 0.667 | 1.82 | 0.606 | 1.926 | 0.606 | 1.7375 | 31536000 | 3607268578.0398 | 721453715.608 | 0.086875 | 124411.68 | 2916643.68 | 2916643.68 | 2792232 | 22.4435 | 1911081.6 | 2739690 | 0.056149 | 1.4336 | Natural waterbody | 0.05
12 | 10835610 | 2.461 | 2.93 | 2.873 | 3.511 | 6.927 | 10.035 | 1.759 | 2.083 | 1.889 | 4.777 | 1.828 | 3.163 | 1.759 | 3.6863 | 31536000 | 0 | 0 | 0.18432 | 26605.44 | 5950690.56 | 0 | -26605.44 | -1 | 5547182.4 | 5547182.4 | 0.11369 | 1.0478 | Natural waterbody | 0.1
13 | 7850507 | 1.057 | 1.286 | 1.693 | 1.639 | 3.682 | 4.422 | 0.718 | 0.836 | 0.691 | 1.882 | 0.629 | 1.983 | 0.629 | 1.7098 | 31536000 | 10943451812.1738 | 2188690362.4348 | 0.085492 | 146151.36 | 2893921.92 | 2893921.92 | 2747770.56 | 18.8009 | 1983614.4 | 2696065.2 | 0.055255 | 1.3592 | Natural waterbody | 0.05
14 | 10840546 | 3.401 | 1.819 | 2.182 | 2.018 | 3.31 | 5.238 | 6.4 | 1.277 | 1.503 | 1.32 | 3.155 | 1.249 | 2.365 | 2.653 | 31536000 | 1.9631e+12 | 392625093358.4005 | 0.13265 | 35756.64 | 4299233.76 | 4299233.76 | 4263477.12 | 119.236 | 3938846.4 | 4183250.4 | 0.085734 | 1.062 | Reservoir | 0.05
15 | 10840468 | 6.39 | 3.446 | 4.066 | 3.716 | 6.33 | 10.979 | 11.889 | 2.512 | 2.995 | 2.82 | 6.923 | 2.794 | 5.556 | 5.3355 | 31536000 | 0 | 0 | 0.26677 | 41716.08 | 8616078 | 0 | -41716.08 | -1 | 7921843.2 | 7921843.2 | 0.16235 | 1.062 | Reservoir | 0.1

## WQI
| COMID | CBNFWs | FertWs | ManureWs | CoalMine_2 | NPDESDensW | Superfun_1 | TRIDensWsR | MineDensWs | PctUrbLo_1 | PctUrbMd_1 | PctUrbHi_1 | prG_BMMI_1 | NsurpWs | NANIWs | Pestic97Ws | SepticWs | sw_fluxWs | HUDen2010W | PopDen20_1 | WWTPMajo_1 | WWTPMino_1 | WWTPAllD_1 | NS_CBNFWs | FertWs.1 | ManureWs.1 | CoalMine_3 | NPDESDensW.1 | Superfun_2 | TRIDensWsR.1 | MineDensWs.1 | PctUrbLo_2 | PctUrbMd_2 | PctUrbHi_2 | prG_BMMI_2 | NsurpWs.1 | NANIWs.1 | Pestic97Ws.1 | SepticWs.1 | sw_fluxWs.1 | HUDen2010W.1 | PopDen20_2 | WWTPMajo_2 | WWTPMino_2 | WWTPAllD_2 | NWS_CBNFWs | NS_FertWs | ManureWs.2 | CoalMine_4 | NPDESDensW.2 | Superfun_3 | TRIDensWsR.2 | MineDensWs.2 | PctUrbLo_3 | PctUrbMd_3 | PctUrbHi_3 | prG_BMMI_3 | NsurpWs.2 | NANIWs.2 | Pestic97Ws.2 | SepticWs.2 | sw_fluxWs.2 | HUDen2010W.2 | PopDen20_3 | WWTPMajo_3 | WWTPMino_3 | WWTPAllD_2.1 | Sum_WQI | Rescaled WQI (0-100) | WQI_rating | System
0 | 7850507 | [8 empty] | 0.14 | 0.04 |  |  | 12076.9022 | 9321.2949 | 0.46928 | 0.894 | 35159 | 0.3072 | 1.0258 | [11 empty] | 0.0017501 | 0.00051751 |  |  | 0.0011766 | 0.0021559 | 0.001026 | 0.059244 | 0.013305 | 0.0002308 | 0.00034993 | [11 empty] | 8.8242e-05 | 2.6093e-05 |  |  | 9.8873e-06 | 1.8117e-05 | 5.1732e-05 | 0.0009957 | 0.00011181 | 1.1637e-05 | 1.7644e-05 |  |  |  | 0.0013309 | 0.13309 | Low | Waterbodies
1 | 7851109 | 3.3788 | 18.7514 | [6 empty] | 1.12 | 0.42 | 0.02 | 0.188 | 108557.516 | 98619.0079 | 37.0514 | 2.4754 | 506758.5506 | 12.8642 | 32.0961 |  | 0.0389 | 0.0389 | 0.36811 | 0.19371 | [6 empty] | 0.014943 | 0.0070726 | 0.00022655 | 0.083895 | 0.0015748 | 0.0026056 | 0.081011 | 0.1735 | 0.196 | 0.010287 | 0.011285 |  | 0.013899 | 0.010415 | 0.0030933 | 0.0032557 | [6 empty] | 0.00075345 | 0.0003566 | 1.1423e-05 | 0 | 1.3233e-05 | 2.1895e-05 | 0.0040846 | 0.002916 | 0.001647 | 0.00051866 | 0.00056898 |  | 0.001168 | 0.00087519 | 0.019284 | 1.9284 | Low | Waterbodies
2 | 7851139 | [66 empty] | 0 | 0 |  | Waterbodies
3 | 10834758 | 2.795 | 32.1427 | [6 empty] | 0.61 | 0.08 |  |  | 9630.5684 | 8549.1219 | 31.0494 | 1.048 | 1401793 | 1.8517 | 3.0871 |  |  |  | 0.3045 | 0.33206 | [6 empty] | 0.0080775 | 0.0012075 |  |  | 0.0011665 | 0.002152 | 0.067888 | 0.070371 | 0.54272 | 0.0014677 | 0.0010754 |  |  |  | 0.0025588 | 0.0055808 | [6 empty] | 0.00040727 | 6.0883e-05 |  |  | 9.8025e-06 | 1.8084e-05 | 0.0034229 | 0.0011827 | 0.0045607 | 7.4e-05 | 5.4221e-05 |  |  |  | 0.01793 | 1.793 | Low | Waterbodies
4 | 10834786 | [12 empty] | 523.487 | 274.9149 |  | 1.721 | 506537 | 0.8387 | 0.8312 | [15 empty] | 0.0011289 | 0.0021103 |  | 0.11899 | 0.19591 | 0.00065644 | 0.00028145 | [15 empty] | 9.4866e-06 | 1.7734e-05 |  | 0.0019999 | 0.0016463 | 3.3098e-05 | 1.4191e-05 |  |  |  | 0.0037207 | 0.37207 | Low | Waterbodies
5 | 10834816 | [12 empty] | 42.9679 | 22.4093 |  | 1.721 | 506537 | 0.8387 | 0.8312 | [15 empty] | 0.0011269 | 0.0021091 |  | 0.11899 | 0.19591 | 0.00065644 | 0.00028145 | [15 empty] | 9.47e-06 | 1.7723e-05 |  | 0.0019999 | 0.0016463 | 3.3098e-05 | 1.4191e-05 |  |  |  | 0.0037207 | 0.37207 | Low | Waterbodies
6 | 10834838 | 0.8785 | 18.2291 | [6 empty] | 1.24 |  |  |  | 5287.6972 | 5014.7973 | 13.0204 | 11.051 | 487692 | 30.5247 | 95.9112 |  |  |  | 0.095701 | 0.18832 | [6 empty] | 0.016559 |  |  |  | 0.0011486 | 0.0021342 | 0.028469 | 0.79308 | 0.18861 | 0.02443 | 0.033744 |  |  |  | 0.00080421 | 0.003165 | [6 empty] | 0.00083491 |  |  |  | 9.6519e-06 | 1.7935e-05 | 0.0014354 | 0.013329 | 0.001585 | 0.0012318 | 0.0017014 |  |  |  | 0.024114 | 2.4114 | Low | Waterbodies
7 | 10835580 | [12 empty] | 4331.1405 | 3174.9164 | 3.3787 | 0.833 | 15509.5715 | 0.6649 | 0.9765 | [15 empty] | 0.0011446 | 0.0021249 | 0.0073873 | 0.054837 | 0.0056933 | 0.00051725 | 0.00033258 | [15 empty] | 9.6187e-06 | 1.7857e-05 | 0.00037247 | 0.00092163 | 4.7843e-05 | 2.608e-05 | 1.6769e-05 |  |  |  | 0.0014123 | 0.14123 | Low | Waterbodies
8 | 10835610 | [12 empty] | 332.2232 | 211.5401 |  | 7.789 | 264642 | 1.6175 | 1.4353 | [15 empty] | 0.0011281 | 0.00211 |  | 0.5574 | 0.1022 | 0.0012801 | 0.00049405 | [15 empty] | 9.48e-06 | 1.7731e-05 |  | 0.0093681 | 0.00085885 | 6.4544e-05 | 2.491e-05 |  |  |  | 0.010344 | 1.0344 | Low | Waterbodies
9 | 10835614 | 0.0005 | 0.0078 | 0.0011 | [5 empty] | 0.26 | 0.09 |  |  | 937697.4265 | 688213.1613 | 4.0759 | 0.22499 | 1281.521 | 0.2223 | 0.2351 |  |  |  | 4.358e-05 | 7.1285e-05 | 7.4349e-06 | [5 empty] | 0.0033656 | 0.00138 |  |  | 0.0049966 | 0.0055744 | 0.0089118 | 0.010909 | 0.00018156 | 0.00016281 | 7.1655e-05 |  |  |  | 3.6622e-07 | 1.1981e-06 | 1.8743e-07 | [5 empty] | 0.0001697 | 6.9581e-05 |  |  | 4.1988e-05 | 4.6844e-05 | 0.00044933 | 0.00018334 | 1.5257e-06 | 8.2088e-06 | 3.6129e-06 |  |  |  | 0.00097589 | 0.097589 | Low | Waterbodies
10 | 10835744 | 0.3598 | 3.8681 | 0.2699 | [9 empty] | 10473.731 | 8907.7345 | 3.8413 | 4.687 | 487692 | 13.0976 | 34.4568 |  |  |  | 0.039189 | 0.039952 | 0.0020059 | [9 empty] | 0.00117 | 0.0021538 | 0.0083987 | 0.33329 | 0.18861 | 0.010474 | 0.012116 |  |  |  | 0.00032932 | 0.00067147 | 5.057e-05 | [9 empty] | 9.8317e-06 | 1.8099e-05 | 0.00042346 | 0.0056014 | 0.001585 | 0.00052808 | 0.00061087 |  |  |  | 0.0098281 | 0.98281 | Low | Waterbodies
11 | 10839758 | [66 empty] | 0 | 0 |  | Waterbodies
12 | 10839800 | [66 empty] | 0 | 0 |  | Waterbodies
13 | 10840278 | 0.056 | 0.6024 | 0.042 | [5 empty] | 6.67 | 1 | 0.17 |  | 2218.3273 | 1797.3193 | 1.4604 | 4.687 | 487692 | 12.0004 | 31.0876 |  |  |  | 0.0060903 | 0.0062142 | 0.00031152 | [5 empty] | 0.089661 | 0.017078 | 0.0036248 |  | 0.0011359 | 0.002118 | 0.0031931 | 0.33329 | 0.18861 | 0.009595 | 0.01093 |  |  |  | 5.1179e-05 | 0.00010444 | 7.8535e-06 | [5 empty] | 0.0045207 | 0.00086107 | 0.00018276 |  | 9.5454e-06 | 1.7798e-05 | 0.000161 | 0.0056014 | 0.001585 | 0.00048378 | 0.00055109 |  |  |  | 0.014138 | 1.4138 | Low | Waterbodies
14 | 10840468 | 1.3789 | 16.5474 | [6 empty] | 1.84 | 0.42 | 0.09 |  | 106420.6655 | 99765.5879 | 19.9402 | 8.184 | 1010706.2248 | 22.331 | 57.7732 |  | 0.0195 | 0.0195 | 0.41127 | 0.37198 | [6 empty] | 0.026869 | 0.01995 | 0.0068611 |  | 0.00098528 | 0.0018598 | 0.20968 | 0.7335 | 0.39123 | 0.029857 | 0.039851 |  | 0.20145 | 0.00082229 | 0.003456 | 0.0062518 | [6 empty] | 0.0013547 | 0.0010059 | 0.00034594 |  | 8.2797e-06 | 1.5628e-05 | 0.010572 | 0.012328 | 0.0032877 | 0.0015054 | 0.0020093 |  | 0.016929 | 6.91e-05 | 0.059139 | 5.9139 | Low | Reservoirs
15 | 10840546 | 0.5822 | 6.9869 |  |  | 0.3673 |  | 0.3673 |  | 2.71 | 2.55 | 1.55 |  | 47194.7054 | 43945.7391 | 12.8648 | 8.184 | 1011374 | 15.6525 | 45.1058 | 0.0401 |  | 0.0401 | 0.17313 | 0.15643 |  |  | 1 |  | 0.72338 |  | 0.039928 | 0.12618 | 0.13208 |  | 0.00048389 | 0.0013572 | 0.13505 | 0.7335 | 0.39149 | 0.020832 | 0.031048 | 0.70299 |  | 0.001691 | 0.0014549 | 0.002629 |  |  | 0.084034 |  | 0.060789 |  | 0.0020132 | 0.0063622 | 0.0066593 |  | 4.0663e-06 | 1.1405e-05 | 0.0068091 | 0.012328 | 0.0032899 | 0.0010504 | 0.0015654 | 0.059075 |  | 0.0001421 | 0.24822 | 24.8215 | Low | Reservoirs

## ERI
| COMID | Costpath (feet) | System
0 | 7850507 | 66365.43 | Waterbodies
1 | 7851109 | 86453.617 | Waterbodies
2 | 7851139 | 245408.1817 | Waterbodies
3 | 10834758 | 269615.9194 | Waterbodies
4 | 10834786 | 414688.1744 | Waterbodies
5 | 10834816 | 189357.1707 | Waterbodies
6 | 10834838 | 60669.3152 | Waterbodies
7 | 10835580 | 125789.4409 | Waterbodies
8 | 10835610 | 55121.6424 | Waterbodies
9 | 10835614 | 146443.9754 | Waterbodies
10 | 10835744 | 111036.9303 | Waterbodies
11 | 10839758 | 383436.2948 | Waterbodies
12 | 10839800 | 65024.7973 | Waterbodies
13 | 10840274 | 184091.5322 | Waterbodies
14 | 10840278 | 134206.2681 | Waterbodies
15 | 10840468 | 81084.3069 | Reservoirs
16 | 10840546 | 170858.9076 | Reservoirs

## WTC
| COMID | UWi_RWi(MGD) | Design Flow (MGD) assigned to Uwi_RWi(MGD) | Total Capital Cost (2020$) | System
0 | 7850507 | 0.055255 | 0.1 | 208761 | Waterbodies
1 | 7851109 | 0.0068267 | 0.05 | 100377 | Waterbodies
2 | 7851139 | 0.0063312 | 0.05 | 100377 | Waterbodies
3 | 10834758 | 0.056149 | 0.1 | 208761 | Waterbodies
4 | 10834786 | 0.38163 | 0.5 | 1138097 | Waterbodies
5 | 10834816 | 0.11559 | 0.25 | 547749 | Waterbodies
6 | 10834838 | 0.22387 | 0.25 | 547749 | Waterbodies
7 | 10835580 | 0.031731 | 0.05 | 100377 | Waterbodies
8 | 10835610 | 0.11913 | 0.25 | 547749 | Waterbodies
9 | 10835614 | 0.028963 | 0.05 | 100377 | Waterbodies
10 | 10835744 | 0.030003 | 0.05 | 100377 | Waterbodies
11 | 10839758 | 0.039635 | 0.05 | 100377 | Waterbodies
12 | 10839800 | 0.025004 | 0.05 | 100377 | Waterbodies
13 | 10840278 | 0.086811 | 0.1 | 208761 | Waterbodies
14 | 10840468 | 0.17242 | 0.25 | 547749 | Reservoirs
15 | 10840546 | 0.085734 | 0.1 | 208761 | Reservoirs

## WIC_new_pump
| COMID | Costpath | System | Unreg_Reg_WA(MGD) | Firm Pumping Capacity (MGD) | New_pump_100tdh | New_pump_200tdh | New_pump_300tdh | Pump_expansion_100tdh | Pump_expansion_200tdh | Pump_expansion_300tdh | Selected_Cost | Selected_facility_type
0 | 7850507 | 66365.43 | Waterbodies | 0.055255 | 0.5 | 134000 | 143700 | 177000 | 57300 | 63900 | 79200 | 134000 | New_pump_100tdh
1 | 7851109 | 86453.617 | Waterbodies | 0.0028438 | 0.5 | 134000 | 143700 | 177000 | 57300 | 63900 | 79200 | 143700 | New_pump_200tdh
2 | 7851139 | 245408.1817 | Waterbodies | 0.0026499 | 0.5 | 134000 | 143700 | 177000 | 57300 | 63900 | 79200 | 177000 | New_pump_300tdh
3 | 10834758 | 269615.9194 | Waterbodies | 0.056149 | 0.5 | 134000 | 143700 | 177000 | 57300 | 63900 | 79200 | 177000 | New_pump_300tdh
4 | 10834786 | 414688.1744 | Waterbodies | 0.4161 | 0.5 | 134000 | 143700 | 177000 | 57300 | 63900 | 79200 | 177000 | New_pump_300tdh
5 | 10834816 | 189357.1707 | Waterbodies | 0.10541 | 0.5 | 134000 | 143700 | 177000 | 57300 | 63900 | 79200 | 143700 | New_pump_200tdh
6 | 10834838 | 60669.3152 | Waterbodies | 0.23442 | 0.5 | 134000 | 143700 | 177000 | 57300 | 63900 | 79200 | 134000 | New_pump_100tdh
7 | 10835580 | 125789.4409 | Waterbodies | 0.022039 | 0.5 | 134000 | 143700 | 177000 | 57300 | 63900 | 79200 | 143700 | New_pump_200tdh
8 | 10835610 | 55121.6424 | Waterbodies | 0.11369 | 0.5 | 134000 | 143700 | 177000 | 57300 | 63900 | 79200 | 134000 | New_pump_100tdh
9 | 10835614 | 146443.9754 | Waterbodies | 0.020359 | 0.5 | 134000 | 143700 | 177000 | 57300 | 63900 | 79200 | 143700 | New_pump_200tdh
10 | 10835744 | 111036.9303 | Waterbodies | 0.019196 | 0.5 | 134000 | 143700 | 177000 | 57300 | 63900 | 79200 | 143700 | New_pump_200tdh
11 | 10839758 | 383436.2948 | Waterbodies | 0.027856 | 0.5 | 134000 | 143700 | 177000 | 57300 | 63900 | 79200 | 177000 | New_pump_300tdh
12 | 10839800 | 65024.7973 | Waterbodies | 0.01493 | 0.5 | 134000 | 143700 | 177000 | 57300 | 63900 | 79200 | 134000 | New_pump_100tdh
13 | 10840278 | 134206.2681 | Waterbodies | 0.074779 | 0.5 | 134000 | 143700 | 177000 | 57300 | 63900 | 79200 | 143700 | New_pump_200tdh
14 | 10840468 | 81084.3069 | Reservoirs | 0.16235 | 0.5 | 134000 | 143700 | 177000 | 57300 | 63900 | 79200 | 134000 | New_pump_100tdh
15 | 10840546 | 170858.9076 | Reservoirs | 0.085734 | 0.5 | 134000 | 143700 | 177000 | 57300 | 63900 | 79200 | 177000 | New_pump_300tdh

## WIC_pipe
| COMID | Costpath | System | Unreg_Reg_WA(MGD) | Calculated pipe inside diameter (D) (inches) | Pipe diameter (inches) | TC_Pipeline | Selected_Cost | Selected_facility_type
0 | 7850507 | 66365.43 | Waterbodies | 0.055255 | 2.2859 | 4 | 878.2 | 58282120.6153 | TC_Pipeline_less_25th
1 | 7851109 | 86453.617 | Waterbodies | 0.0028438 | 0.51858 | 4 | 878.2 | 75923566.4535 | TC_Pipeline_between_50th
2 | 7851139 | 245408.1817 | Waterbodies | 0.0026499 | 0.50059 | 4 | 878.2 | 215517465.1999 | TC_Pipeline_above_75th
3 | 10834758 | 269615.9194 | Waterbodies | 0.056149 | 2.3043 | 4 | 878.2 | 236776700.3736 | TC_Pipeline_above_75th
4 | 10834786 | 414688.1744 | Waterbodies | 0.4161 | 6.2729 | 8 | 914.7 | 379315273.1674 | TC_Pipeline_above_75th
5 | 10834816 | 189357.1707 | Waterbodies | 0.10541 | 3.1573 | 4 | 878.2 | 166293467.2922 | TC_Pipeline_between_50th
6 | 10834838 | 60669.3152 | Waterbodies | 0.23442 | 4.7083 | 6 | 892 | 54117029.1929 | TC_Pipeline_less_25th
7 | 10835580 | 125789.4409 | Waterbodies | 0.022039 | 1.4437 | 4 | 878.2 | 110468286.9931 | TC_Pipeline_between_50th
8 | 10835610 | 55121.6424 | Waterbodies | 0.11369 | 3.2789 | 4 | 878.2 | 48407826.3407 | TC_Pipeline_less_25th
9 | 10835614 | 146443.9754 | Waterbodies | 0.020359 | 1.3875 | 4 | 878.2 | 128607099.233 | TC_Pipeline_between_50th
10 | 10835744 | 111036.9303 | Waterbodies | 0.019196 | 1.3473 | 4 | 878.2 | 97512632.1588 | TC_Pipeline_between_50th
11 | 10839758 | 383436.2948 | Waterbodies | 0.027856 | 1.623 | 4 | 878.2 | 336733754.1102 | TC_Pipeline_above_75th
12 | 10839800 | 65024.7973 | Waterbodies | 0.01493 | 1.1882 | 4 | 878.2 | 57104776.9784 | TC_Pipeline_less_25th
13 | 10840278 | 134206.2681 | Waterbodies | 0.074779 | 2.6592 | 4 | 878.2 | 117859944.6149 | TC_Pipeline_between_50th
14 | 10840468 | 81084.3069 | Reservoirs | 0.16235 | 3.9183 | 4 | 878.2 | 71208238.3116 | TC_Pipeline_less_25th
15 | 10840546 | 170858.9076 | Reservoirs | 0.085734 | 2.8474 | 4 | 878.2 | 150048292.6451 | TC_Pipeline_above_75th

## WIC_storage_res
| COMID | Costpath | System | UWi_RWi(MGD) | UWi_RWi(Gallon) | Storage capacity (Gallon) | Reservoir_ground_level ($) | Reservoir_below_level ($) | Selected_Cost ($) | Selected_facility_type
0 | 7850507 | 66365.43 | Waterbodies | 0.055255 | 55254.7114 | 250000 | 412300 | 559000 | 559000 | Reservoir_below_level
1 | 7851109 | 86453.617 | Waterbodies | 0.0028438 | 2843.7945 | 250000 | 412300 | 559000 | 559000 | Reservoir_below_level
2 | 7851139 | 245408.1817 | Waterbodies | 0.0026499 | 2649.8994 | 250000 | 412300 | 559000 | 412300 | Reservoir_ground_level
3 | 10834758 | 269615.9194 | Waterbodies | 0.056149 | 56148.7831 | 250000 | 412300 | 559000 | 412300 | Reservoir_ground_level
4 | 10834786 | 414688.1744 | Waterbodies | 0.4161 | 416098.8382 | 500000 | 484500 | 662600 | 484500 | Reservoir_ground_level
5 | 10834816 | 189357.1707 | Waterbodies | 0.10541 | 105414.291 | 250000 | 412300 | 559000 | 412300 | Reservoir_ground_level
6 | 10834838 | 60669.3152 | Waterbodies | 0.23442 | 234419.1498 | 250000 | 412300 | 559000 | 559000 | Reservoir_below_level
7 | 10835580 | 125789.4409 | Waterbodies | 0.022039 | 22039.4072 | 250000 | 412300 | 559000 | 559000 | Reservoir_below_level
8 | 10835610 | 55121.6424 | Waterbodies | 0.11369 | 113687.1476 | 250000 | 412300 | 559000 | 559000 | Reservoir_below_level
9 | 10835614 | 146443.9754 | Waterbodies | 0.020359 | 20358.9832 | 250000 | 412300 | 559000 | 412300 | Reservoir_ground_level
10 | 10835744 | 111036.9303 | Waterbodies | 0.019196 | 19195.6128 | 250000 | 412300 | 559000 | 559000 | Reservoir_below_level
11 | 10839758 | 383436.2948 | Waterbodies | 0.027856 | 27856.2596 | 250000 | 412300 | 559000 | 412300 | Reservoir_ground_level
12 | 10839800 | 65024.7973 | Waterbodies | 0.01493 | 14929.921 | 250000 | 412300 | 559000 | 559000 | Reservoir_below_level
13 | 10840278 | 134206.2681 | Waterbodies | 0.074779 | 74778.8686 | 250000 | 412300 | 559000 | 559000 | Reservoir_below_level
14 | 10840468 | 81084.3069 | Reservoirs | 0.16235 | 162354.8123 | 250000 | 412300 | 559000 | 559000 | Reservoir_below_level
15 | 10840546 | 170858.9076 | Reservoirs | 0.085734 | 85733.9405 | 250000 | 412300 | 559000 | 412300 | Reservoir_ground_level

## WIC
|  |  |  | New Pump - Selected_Cost ($) - based on Costpath quartile measurment - <25th (New_pump_100tdh), between 50th and 75th (New_pump_200tdh) and >75th percentile (New_pump_300tdh) | [6 empty] | Pipe - small, medium and high pipe length defined based on Costpath quartile measurement - <25th (TC_Pipeline_less_25th), between 50th and 75th (TC_Pipeline_between_50th), and above 75th percentile (TC_Pipeline_above_75th); Pipe_Cost ($) = TC_Pipeline ($)*Costpath | [5 empty] | Storage Reservoir - Selected_Cost ($) - based on Costpath quartile measurment - <50th (Reservoir_below_level) and >75th percentile (Reservoir_ground_level) | [5 empty] | Total_WIC ($) | All_Label
| COMID | Costpath (feet) | System | Uwi_RWi(MGD) | Firm Pumping Capacity (MGD) | New_pump_100tdh ($) | New_pump_200tdh ($) | New_pump_300tdh ($) | Selected_Cost ($) | Selected_facility_type | Unreg_Reg_WA(MGD) | Calculated pipe inside diameter (D) (inches) | Pipe diameter (inches) | TC_Pipeline ($) | Pipe_Cost ($) | Selected_facility_type | Unreg_Reg_WA(Gal) | Storage capacity (Gal) | Reservoir_ground_level | Reservoir_below_level | Selected_Cost ($) | Selected_facility_type
0 | 7850507 | 66365.43 | Waterbodies | 0.055255 | 0.5 | 134000 | 143700 | 177000 | 134000 | New_pump_100tdh | 0.055255 | 2.2859 | 4 | 878.2 | 58282120.6153 | TC_Pipeline_less_25th | 55254.7114 | 250000 | 412300 | 559000 | 559000 | Reservoir_below_level | 58975120.6153 | New_pump_100tdh, TC_Pipeline_less_25th, Reservoir_below_level
1 | 7851109 | 86453.617 | Waterbodies | 0.0028438 | 0.5 | 134000 | 143700 | 177000 | 143700 | New_pump_200tdh | 0.0028438 | 0.51858 | 4 | 878.2 | 75923566.4535 | TC_Pipeline_between_50th | 2843.7945 | 250000 | 412300 | 559000 | 559000 | Reservoir_below_level | 76626266.4535 | New_pump_200tdh, TC_Pipeline_between_50th, Reservoir_below_level
2 | 7851139 | 245408.1817 | Waterbodies | 0.0026499 | 0.5 | 134000 | 143700 | 177000 | 177000 | New_pump_300tdh | 0.0026499 | 0.50059 | 4 | 878.2 | 215517465.1999 | TC_Pipeline_above_75th | 2649.8994 | 250000 | 412300 | 559000 | 412300 | Reservoir_ground_level | 216106765.1999 | New_pump_300tdh, TC_Pipeline_above_75th, Reservoir_ground_level
3 | 10834758 | 269615.9194 | Waterbodies | 0.056149 | 0.5 | 134000 | 143700 | 177000 | 177000 | New_pump_300tdh | 0.056149 | 2.3043 | 4 | 878.2 | 236776700.3736 | TC_Pipeline_above_75th | 56148.7831 | 250000 | 412300 | 559000 | 412300 | Reservoir_ground_level | 237366000.3736 | New_pump_300tdh, TC_Pipeline_above_75th, Reservoir_ground_level
4 | 10834786 | 414688.1744 | Waterbodies | 0.4161 | 0.5 | 134000 | 143700 | 177000 | 177000 | New_pump_300tdh | 0.4161 | 6.2729 | 8 | 914.7 | 379315273.1674 | TC_Pipeline_above_75th | 416098.8382 | 500000 | 484500 | 662600 | 484500 | Reservoir_ground_level | 379976773.1674 | New_pump_300tdh, TC_Pipeline_above_75th, Reservoir_ground_level
5 | 10834816 | 189357.1707 | Waterbodies | 0.10541 | 0.5 | 134000 | 143700 | 177000 | 143700 | New_pump_200tdh | 0.10541 | 3.1573 | 4 | 878.2 | 166293467.2922 | TC_Pipeline_between_50th | 105414.291 | 250000 | 412300 | 559000 | 412300 | Reservoir_ground_level | 166849467.2922 | New_pump_200tdh, TC_Pipeline_between_50th, Reservoir_ground_level
6 | 10834838 | 60669.3152 | Waterbodies | 0.23442 | 0.5 | 134000 | 143700 | 177000 | 134000 | New_pump_100tdh | 0.23442 | 4.7083 | 6 | 892 | 54117029.1929 | TC_Pipeline_less_25th | 234419.1498 | 250000 | 412300 | 559000 | 559000 | Reservoir_below_level | 54810029.1929 | New_pump_100tdh, TC_Pipeline_less_25th, Reservoir_below_level
7 | 10835580 | 125789.4409 | Waterbodies | 0.022039 | 0.5 | 134000 | 143700 | 177000 | 143700 | New_pump_200tdh | 0.022039 | 1.4437 | 4 | 878.2 | 110468286.9931 | TC_Pipeline_between_50th | 22039.4072 | 250000 | 412300 | 559000 | 559000 | Reservoir_below_level | 111170986.9931 | New_pump_200tdh, TC_Pipeline_between_50th, Reservoir_below_level
8 | 10835610 | 55121.6424 | Waterbodies | 0.11369 | 0.5 | 134000 | 143700 | 177000 | 134000 | New_pump_100tdh | 0.11369 | 3.2789 | 4 | 878.2 | 48407826.3407 | TC_Pipeline_less_25th | 113687.1476 | 250000 | 412300 | 559000 | 559000 | Reservoir_below_level | 49100826.3407 | New_pump_100tdh, TC_Pipeline_less_25th, Reservoir_below_level
9 | 10835614 | 146443.9754 | Waterbodies | 0.020359 | 0.5 | 134000 | 143700 | 177000 | 143700 | New_pump_200tdh | 0.020359 | 1.3875 | 4 | 878.2 | 128607099.233 | TC_Pipeline_between_50th | 20358.9832 | 250000 | 412300 | 559000 | 412300 | Reservoir_ground_level | 129163099.233 | New_pump_200tdh, TC_Pipeline_between_50th, Reservoir_ground_level
10 | 10835744 | 111036.9303 | Waterbodies | 0.019196 | 0.5 | 134000 | 143700 | 177000 | 143700 | New_pump_200tdh | 0.019196 | 1.3473 | 4 | 878.2 | 97512632.1588 | TC_Pipeline_between_50th | 19195.6128 | 250000 | 412300 | 559000 | 559000 | Reservoir_below_level | 98215332.1588 | New_pump_200tdh, TC_Pipeline_between_50th, Reservoir_below_level
11 | 10839758 | 383436.2948 | Waterbodies | 0.027856 | 0.5 | 134000 | 143700 | 177000 | 177000 | New_pump_300tdh | 0.027856 | 1.623 | 4 | 878.2 | 336733754.1102 | TC_Pipeline_above_75th | 27856.2596 | 250000 | 412300 | 559000 | 412300 | Reservoir_ground_level | 337323054.1102 | New_pump_300tdh, TC_Pipeline_above_75th, Reservoir_ground_level
12 | 10839800 | 65024.7973 | Waterbodies | 0.01493 | 0.5 | 134000 | 143700 | 177000 | 134000 | New_pump_100tdh | 0.01493 | 1.1882 | 4 | 878.2 | 57104776.9784 | TC_Pipeline_less_25th | 14929.921 | 250000 | 412300 | 559000 | 559000 | Reservoir_below_level | 57797776.9784 | New_pump_100tdh, TC_Pipeline_less_25th, Reservoir_below_level
13 | 10840278 | 134206.2681 | Waterbodies | 0.074779 | 0.5 | 134000 | 143700 | 177000 | 143700 | New_pump_200tdh | 0.074779 | 2.6592 | 4 | 878.2 | 117859944.6149 | TC_Pipeline_between_50th | 74778.8686 | 250000 | 412300 | 559000 | 559000 | Reservoir_below_level | 118562644.6149 | New_pump_200tdh, TC_Pipeline_between_50th, Reservoir_below_level
14 | 10840468 | 81084.3069 | Reservoir | 0.16235 | 0.5 | 134000 | 143700 | 177000 | 134000 | New_pump_100tdh | 0.16235 | 3.9183 | 4 | 878.2 | 71208238.3116 | TC_Pipeline_less_25th | 162354.8123 | 250000 | 412300 | 559000 | 559000 | Reservoir_below_level | 71901238.3116 | New_pump_100tdh, TC_Pipeline_less_25th, Reservoir_below_level
15 | 10840546 | 170858.9076 | Reservoir | 0.085734 | 0.5 | 134000 | 143700 | 177000 | 177000 | New_pump_300tdh | 0.085734 | 2.8474 | 4 | 878.2 | 150048292.6451 | TC_Pipeline_above_75th | 85733.9405 | 250000 | 412300 | 559000 | 412300 | Reservoir_ground_level | 150637592.6451 | New_pump_300tdh, TC_Pipeline_above_75th, Reservoir_ground_level